**Description:**

Type: BROEN BALLOMAX

Art. No.: 55.103

Pressure: PN 40 / 25

Dimension: DN15 to DN200

**Configuration:**

Fully welded ball valve with reduced bore and flange/flange connection. Especially designed for use in central heating, heating, cooling and industrial plants. Stem and stop made in stainless steel with double sealings in stuffing box with Graphite rings. The valves are manufactured according to ISO9001:2008 and ISO14001.

**Technical data:**

Connection: Flange/Flange

Temperature: Continuous 250 °C

Media: Treated water to avoid corrosion/lime formation, suitable for steam.

House: Steel P235GH (St. 37)

Rings: Graphite (Grafmet 950)

Ball: Stainless Steel AISI 304L

Seat packing: Reinforced PTFE 20%C

Operation: DN10 to DN80 = Handle

DN100 to DN200 = Handle / ISO flange for gear/actuator

Surface: Environmentally corrosion resistant paint

**Labeling:**

Maker, Dimension, Pressure step, Temperature range, Production month and year.

CE marked.

**Accessories:**

DN100 to DN200 = Gear/actuator