**Description:**

Type: BROEN BALLOMAX

Art. No.: 55.102

Pressure: PN 40 / 25

Dimension: DN10 to DN200

**Configuration:**

Fully welded ball valve with reduced bore and weld/weld connection. Especially designed for use in central heating, heating, cooling and industrial plants. Stem and stop made in stainless steel with double sealings in stuffing box with Graphite rings. The valves are manufactured according to ISO9001:2008 and ISO14001.

**Technical data:**

Connection: Weld/Weld

Temperature: Continuously 250 °C

Media: Treated water to avoid corrosion/lime formation, suitable for steam.

House: Steel P235GH (St. 37)

Rings: Graphite (Grafmet 950)  
Ball: Stainless steel AISI 304L   
Seat packing: Reinforced PTFE 20% C

Operation: DN10 to DN80 = Standard handle

DN100 to DN200 = Standard handle / ISO-flange for gear/actuator.

Surface: Environmentally friendly corrosion resistant paint.

**Labeling:**

Maker, Dimension, Pressure step, Temperature range, Production month and year.

CE marking

**Accessories:**

DN100 to DN200 = Gear/actuator.